## PM PRO 3_ENG
Packing List
Product Name | : Patient Monitor
Model | : PM PRO 3
Serial Number | : PM1019
Item | No | Contents | Quantity | Remark
Standart Configuration | 1 | Unit PM Pro 3 | 1 set
| 2 | Battery PM Pro 3 | 1 pc | 14.8V
| 3 | AC Power Cable | 1 pc
| 4 | Grounding Cable | 1 pc
| 5 | ECG Cable | 1 pc | 5 lead, snap type
| 6 | NIBP Cuff | 1 pc | Adult, 27-35 cm
| 7 | SpO2 Sensor | 1 pc | Adult
| 8 | ECG Disposable Electrode | 1 pack | 10 pcs/pack
| 9 | NIBP Tube | 1 pc
| 10 | Temperature Probe | 1 pc | Skin type, 3m
| 11 | SOP | 1 pc | Adult
| 13 | Manual Book | 1 pc | English
| 14 | Manual Book | 1 pc | Indonesia
| 15 | Warranty Card | 1 pc
| 16 | Quick Reference Card | 1 pc | English
Options Configuration | 1
2
3
Packing Date | :
Packer | : |  | Checker | :
PT. Sinko Prima Alloy

## PM PRO 3_INDO
Packing List
Nama Produk | : Patient Monitor
Model | : PM PRO 3
Nomor Seri | : PM1019
Item | No | Konten | Jumlah | Keterangan
Konfigurasi Standar | 1 | Unit PM Pro 3 | 1 buah
| 2 | Baterai PM Pro 3 | 1 buah | 14.8V
| 3 | Kabel Catu Daya AC | 1 buah
| 4 | Kabel Pembumian | 1 buah
| 5 | Kabel EKG | 1 buah | 5 lead, tipe snap
| 6 | Manset NIBP | 1 buah | Dewasa, 27-35 cm
| 7 | SpO2 Sensor | 1 buah | Dewasa
| 8 | Elektroda EKG Sekali Pakai | 1 kantong | 10 buah/kantong
| 9 | Selang NIBP | 1 buah
| 10 | Probe Temperatur | 1 buah | Jenis kulit, 3 m
| 11 | SOP | 1 buah | Adult
| 13 | Buku Panduan | 1 buah | Inggris
| 14 | Buku Panduan | 1 buah | Indonesia
| 15 | Kartu Garansi | 1 buah
| 16 | Kartu Panduan Cepat | 1 buah | Inggris
Konfigurasi Opsional | 1
2
3
Tanggal Pengemasan | :
Pengemas | : |  | Pemeriksa | :
PT. Sinko Prima Alloy