## PMPRO1+XM
Packing List
Product Name | : Patient Monitor
Model | : PM PRO-1 + XM Module
Serial Number | :
Item | No | Contents | Quantity | Remark
Standart Configuration | 1 | Unit PM Pro 1 | 1 set
| 2 | Unit XM Module | 1 pc | Modul
| 3 | Battery | 2 pc | 11.1V
| 4 | Power Cable AC | 1 pc | for PM Pro 1
| 5 | Temperature Probe | 1 pc
| 6 | ECG Trunk Cable | 1 pc | 12-pin
| 7 | ECG Limb Wire | 1 pc | 5 leadsnap
| 8 | ECG Disposable Electrode | 1 pc
| 9 | NIBP Tube | 1 pc
| 10 | NIBP Cuff | 1 pc | Adult
| 11 | SpO2 Sensor | 1 pc | Adult
| 12 | SpO2 Adaptor Cable | 1 pc | 7-pin
| 13 | SOP | 1 pc
| 14 | Manual Book | 1 pc | English
| 15 | Manual Book | 1 pc | Indonesia
| 16 | Warranty Card
Options Configuration | 1
2
3
Packing Date | :
Packer | : |  | Checker | :
PT. Sinko Prima Alloy

## PMPRO1+PMPRO2
Packing List
Product Name | : Patient Monitor
Model | : PM PRO-1 + PM Pro 2
Serial Number | :
Item | No | Contents | Quantity | Remark
Standart Configuration | 1 | Unit PM Pro 1 | 1 set
| 2 | Unit PM Pro 2 | 1 pcs | Modul
| 3 | Battery PM Pro 1 | 2 pc | 14.8V
| 4 | Battery PM Pro 2 | 1 pc | 11.1V
| 5 | Power Cable AC | 1 pc | for PM Pro 1
| 6 | Power Adaptor DC | 1 pc | for PM Pro 2
| 7 | ECG Cable | 1 pc | 3 leadsnap
| 8 | ECG Disposable Electrode | 1 pc
| 9 | NIBP Tube | 1 pc
| 10 | NIBP Cuff | 1 pc | Adult
| 11 | SpO2 Sensor | 1 pc | Adult
| 13 | SpO2 Adaptor Cable | 1 pc
| 14 | SOP | 1 pc
| 15 | Manual Book | 1 pc | English
| 16 | Manual Book | 1 pc | Indonesia
| 17 | Warranty Card | 1 pc
Options Configuration | 1
2
3
Packing Date | :
Packer | : |  | Checker | :
PT. Sinko Prima Alloy